## Ark1
	Task	Systems
Video systems	Test that the video systems are correct, using WFM700. Run a status session logging on the WFM for about 10 – 20 sek on each system and verify that no errors occurs. Note that some 720p systems are not supported by the WFM700.	All
Timing	Verify that the genlock timing is correct.	Most common *
	Verify that the timing adjustment works correctly by measuring relative to another channel and specifically test the timing when the timing setting is changed from 0 to -6.7ns.	All
Patterns	Visually, inspect that the test patterns are correct and reflects the menu text. For the patterns having a “modify” option also test all options.	All
Video levels	For pattern colorbar 100/0/100/0 and 75/0/75/0, test the video levels and transition timing between the video components using the vector display on the WFM. For the white signal measure that the levels are correct at all steps (from -5% to 105%).	SD576i/25 and HD1080i/25
Geometry	Check the position of the crosshatch pattern vertically and horizontally.	Most common *
Audio	Using an MSD deembedder, and the WFM test the audio signal types and levels, including no audio.	All
Audio CRC	Test that the audio CRC is correct.	Most common *
	Visually test that the timing between click and clapperboard is correct.	All
	Check that the click timing can be adjusted.	Most common *
Text positon	Test all horizontal and vertical positions of the text, and all modes of moving text.	All
Text content	Type in various strings to test the text display. Type content of 1, 2 and 3 lines. Type the maximum string length.	SD576i/25, HD720p/50 and HD1080i/25
Text Scale	Test all text scale factors.	Most common *

		* Most common systems are: SD576i/25, SD487i/29.98, HD720p/50, HD720p/59.97, HD1080i/25, HD1080i/29.98